DATA PACKET COVER PAGE - FILE IN CORRESPONDENCE FILE E161273 FILING DATE____________

Introduction:

Test data reviewed and approved by manufacturer___________________________________________

(project engineer / Client Test Data Program coordinator signatures)

_______________________________________________________

(project engineer/ Client Test Data Program coordinator printed names)

Test data complied at the manufacturer’s facility in _HOLLAND MICHIGAN____________________.

Test data reviewed and approved by UL___________________________________________________

(UL project engineer / review engineer signatures)

___________________________________________________

(UL project engineer/ review engineer printed names)

Note: See reverse side for instructions regarding numbering of pages and test instruments and sample identification.

Test Instrument List:

| All instruments | Instruments used at non-UL Facilities |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Data Sheet/Test No. | Instrument # | Function & range | Calibration (mo/day/yr) |  | Instrument Type | Make/Model |  |
|  |  |  | Last Date | Due Date |  |  |  |
| Input/Output, THD | 2502299001 | Power Analyzer V, A, W | 09/05/2003 | 09/05/2004 | Power Analyzer | Xitron 2502H |  |
| Input/Output, THD | 2503990003 | Power Analyzer | 11/13/2003 | 11/13/2004 | Power Analyzer | Xitron 2503H |  |
| Input/Output, THD | 25719901002 | Ballast Analyzer | Not Used | Not Used | Ballast Analyzer | Xitron 2571 |  |
| Input/Output | 140052 | True rms ac volts | Not Used | Not Used | Digital MultiMeter | Tektronix DMM916 |  |
| Leakage, Input/Output, Shock Hazard | B021568 Or B014235 | Volts/div Volts/div | 06/03/2003 Not Used | 06/03/2004 Not Used | Oscilloscope | Tek TDS420A Tek TDS360 |  |
| Strain relief | G7100184 | Pounds | Not Used | Not Used | Scale | AND FC-5000 |  |
| Normal Temp, Component Faults | T-228014 | Temperature; Type J Thermocouples | 12/12/2003 | 12/12/2004 | Temperature Scanner | Omega HH22 |  |
| Dielectric | 18335 | Hi-pot | 1/19/2004 | 1/19/2005 | Hi-Pot | Biddle 230315 |  |
| Dielectric | 14831 | Hi-pot | NOT USED | NOT USED | Hi-Pot | Rod-L M100BVS5 |  |

Samples:

| Sample card # | Sample assigned number | Date samples received at UL |
| --- | --- | --- |

Instructions:

Page numbering -

After completion of all tests, pages are to be numbered in x/y format where x is the current page number and y is the total number of pages.  Attach all additional work sheets, chart recorder charts, instruments printouts and record the project number (if known) and the UL file number on each of these.

Test instrument list -

General - The person conducting the test shall  identify all instruments used to conduct tests described in the attached data sheets in this Test Instrument list.  Additional identification is to be included on individual data sheets if it is not obvious which instrument or range was used for a particular test.

Instrument # -

The second column of this list is to include, in order of preference, either the (1) department assigned number assigned to the instrument, (2) instrument serial number, or (3) company asset number.

Function and Range Used -

For multi-purpose instruments, the function used such as watts, volts, amps., etc is to be indicated. Also specify which range was used, i.e. 0-30 amp, “auto”, is to be so indicated.

Samples -

If multiple samples are used in the testing, the samples are to be uniquely identified and that identification shall be on the individual data sheets.  If addition sample identification cards are used, the card number shall be indicated.  If additional samples are used for re-testing, the samples shall have unique numbers unlike the original samples.

Entering Test Result Data -

Data shall be entered in ink.  If it is necessary to revise collected data, the data shall be lined out, initialed, and the corrected data entered nearby along with an explanation.